(1016PDCM, 12/18/25)

SECTION 1016 	PACKAGED DRY CONCRETE AND MORTAR MATERIALS:

1016-1		General Requirements: the second paragraph of the Standard Specifications is modified to add:

Aqueous solutions, emulsions, or dispersions may be included as components of the packaged materials. The manufacturer may specify that these liquids are to replace some or all the mixing water. If the material contains soluble chlorides or other ingredients in sufficient quantity to cause corrosion to steel reinforcements, the material will not be acceptable.

1016-5		Packaged Dry Rapid-Hardening Concrete: the second and the third paragraphs of the Standard Specifications are hereby deleted:

1016-6		Packaged Dry Very Rapid-Hardening Concrete: the second and the third paragraphs of the Standard Specifications are hereby deleted