(1017ANSG, 12/18/25)

SECTION 1017 	NONSHRINK GROUT MATERIALS:

1017-1		General Requirements: the third paragraph of the Standard Specifications is modified to add:

Aqueous solutions, emulsions or dispersions may be included as components of the packaged materials. The manufacturer may specify that these liquids are to replace some or all the mixing water. If the material contains soluble chlorides or other ingredients in sufficient quantity to cause corrosion to steel reinforcement, the material will not be acceptable.