(731STRSUP, 03/18/21)

SECTION 731	STRUCTURAL SUPPORTS AND FOUNDATIONS FOR TRAFFIC SIGNAL AND HIGHWAY LIGHTING:

731-1			Description: of the Standard Specifications is revised to read:

The work under this section shall consist of furnishing all materials and constructing new supports and foundations for traffic signal and highway lighting systems or modifying poles and mast arms of existing systems at the locations shown on the plans, and in accordance with the details shown on the plans and the requirements of these specifications.

Pole foundations shall include all conduits, elbows, anchor bolts, grounding wires and reinforcing steel.  Cabinet foundations shall include conduits, elbows, anchor bolts and clearance pads.

731-2			Materials: of the Standard Specifications is revised to read:

Excavation and backfill shall conform to the requirements of Section 203-5.03 of the specifications.  Concrete shall conform to the requirements of Sections 601 and 1006 of the specifications. Reinforcing steel and wire mesh shall conform to the requirements of Sections 605 and 1003 of the specifications.

Concrete for all foundations shall be Class S and shall have a required 28-day compressive strength of 3,500 pounds per square inch.

# 731-2.01 	BLANK: the title and text of the Standard Specifications is revised to read:

# 731-2.01	Aluminum Poles and Mast Arms:

    - General:

Standard aluminum poles assemblies for highway lighting shall include pole shafts, pole bases, and mast arms. Aluminum components of the pole, mast arm, base, and hardware shall conform to the details shown on the plans and in these specifications.

Each aluminum pole and mast arm shall be designed and manufactured as a complete assembly. The assembly shall be furnished and installed as a complete unit that is configured to the necessary dimensions with all the required components including mounting brackets and assembly, ground lugs, rain caps, hand hole covers, anchor bolts, nuts, washers and related hardware and accessories.

The design of the pole assembly (pole, mast arm, and luminaire attachment portion) shall be per the requirements of the 2013 AASHTO Standard Specifications for Structural Supports for Highway Signs, Luminaires and Traffic Signals, 6th edition with 2015 interim revisions. The design of the poles, mast arms and luminaire mounting brackets shall be based on a wind speed of 90 miles per hour with a luminaire having an effective projected area of 1.5 square feet and a weight of 55 pounds.

The design shall also be based upon the worst case loading, derived by combining the loads caused by a 20 foot truss mast arm, except for S and T poles, design luminaire, design wind speed and other dead loads, as appropriate. Secondary deflections shall be accounted for in all designs.

Aluminum poles shall have a minimum design life of 50 years.

The pole and mast arm shall be supplied from the same manufacturer and of similar metal properties providing a uniform appearance.

    - Pole and Mast Arm Assembly Design Parameters:

      - Pole Shafts:

The tapered pole shaft shall be fabricated from a one-piece, seamless, round tapered tube of Aluminum Alloy 6063-T6, conforming to the requirements of ASTM B221, and shall be full-length heat treated after tapering and welding on the base and hand hole reinforcing to produce a T6 temper. The pole shafts shall either maintain a uniform taper rate from the base of the pole to the pole top or shall be non-tapered. The base plate shall be constructed to match the foundation bolt pattern for standard poles shown in the Standard Drawings for Aluminum Light Poles. No field splices of pole shafts shall be allowed. The pole shaft shall have an internal vibration damper.

The pole shaft shall be smooth with a uniform brushed sheen finish that is free from all dents, scratches, and shipping/handling marks. Poles that have a finish that is not uniform or that fails to meet the requirements of this specification will be rejected by the Engineer and shall be repaired or replaced to the satisfaction of the Engineer at no expense to the Department in accordance with Subsection 105 of the specifications.

All aluminum poles shall have a hand hole in the base of the poles and shall conform to the details shown on the Standard Drawings, with the exception that the hand hole shall use aluminum components and stainless steel screws.

An aluminum tag shall be permanently attached to the pole above the hand hole. The tag shall state the manufacturer’s name, pole type, ADOT standard drawing number, pole length, and gage number.

      - Truss Mast Arms:

The aluminum truss mast arms shall be fabricated by the same manufacturer as the aluminum pole manufacturer and from Aluminum Alloy 6063-T6 conforming to the requirements of ASTM B221.

The aluminum truss mast arms shall be smooth with a uniform brushed sheen finish that is free from all dents, scratches, and shipping/handling marks. Aluminum truss mast arms that have a finish that is not uniform or that fails to meet the requirements of this specification will be rejected by the Engineer and shall be repaired or replaced by the contractor to the satisfaction of the Engineer at no expense to the Department in accordance with Subsection 105 of the specifications.

      - Welding:

Welding of all components of aluminum light poles shall conform to the American Welding Society (AWS) D1.2 Specifications for Class I Structures. All aluminum components and welding shall be identified and included in the Certificate of Analysis, which shall state compliance to AWS Specifications.

      - Break-away Transformer Bases:

Break-away bases for light poles and flasher poles shall be a frangible pole mounting pedestal (base). Break-away bases shall be used on Type A, G, H, I, S, and T poles when indicated on the plans or specifications. Break-away bases shall be fabricated from 356 T6 aluminum alloys and shall have a stainless steel wheel abraded finish. The break-away bases shall have all the necessary hardware to make a complete and functional unit.

Bolts, nuts, and washers connecting the pole to the break-away base shall be fabricated from steel conforming to the requirements of ASTM F3125 Grade A325. Bolts shall be galvanized in accordance with the requirements of ASTM F2329. The 2-3/4 inch x 1/2-inch thick washers shall be zinc mechanically coated per ASTM B695-85 Class 50 or shall be galvanized per the requirements of ASTM F2329.

Welding of all components of aluminum break-away bases shall conform to the AWS D1.2 Specifications

Break-away bases shall be certified by the manufacturer to meet or exceed the change in momentum requirements of the AASHTO Standard Specifications for Structural Supports for Highway Signs, Luminaires and Traffic Signals, and to be acceptable for use on Federal Aid projects. The manufacturer shall also certify that the break-away base has been tested and approved by the Federal Highway Administration (FHWA) and that the casting has the same chemistry, mechanical properties, and geometry as the casting used in the tests.

      - Anchor Bolts, Nuts, and Washers:

All anchor bolts shall be fabricated from steel conforming to the requirements of ASTM F1554 Grade 55, shall be fully galvanized in accordance with the requirements of ASTM F2329, and shall conform to the requirements shown on the Standard Drawings. All anchor bolts shall be submitted for approval and a certificate of analysis shall be provided from the manufacturer that is in accordance with the requirements of Subsection 106.05 of the specifications.

    - Submittals:

The contractor shall submit a Certificate of Analysis for all aluminum components in accordance with the requirements of Section 106.05 of the specifications. The contractor shall also submit shop drawings that have been sealed and signed by a registered professional engineer that show all the details of the poles assembly units to be furnished and installed. The shop drawings shall be complete in every aspect, including all dimensions, material specifications and appropriate details. The details shall include the configuration of the pole shaft, mast arm and mast arm mounting bracket, base plates, luminaire mounting bracket and the hand hole. All welds shall be shown and identified with standard AWS symbols. The submittal shall include structural calculations along with the name of the engineer(s) who sealed the drawings and performed the calculations.

The contractor shall submit the supporting documents for review by the Engineer. The principal purpose of the review is to verify that suitable structural calculations have been made in the design of the pole and mast arm assembly. The contractor's engineer shall utilize accepted standard engineering principles. If a computer program is utilized, the contractor shall furnish the Engineer with all necessary information, such as formulas and assumptions, to conduct a meaningful review.

The Engineer shall provide written review comments to the contractor. The contractor shall respond to these comments and resubmit the calculations, if required. Fabrication shall not take place until the shop drawings have been approved.

If the contractor utilizes a pre-approved design from ADOT’s Approved Product List (APL), submittal of the structural calculations is not required. Shop drawings for APL designs shall be submitted. Drawing numbers for the pre-approved designs found in the APL are available at https://azdot.gov/business/engineering-and-construction/product-evaluation-program.

731-2.02		Standard Steel Poles: the title and text of the Standard Specifications is revised to read:

731-2.02		Steel Poles and Mast Arms:

(A)		General:

Standard steel poles assemblies for traffic signals and highway lighting shall include pole shafts, mast arms, and pole bases. Steel components of the pole, mast arm, base, and hardware shall conform to the details shown on the plans and in these specifications.

Each steel pole and mast arm shall be designed and manufactured as a complete assembly. The assembly shall be furnished and installed as a complete unit that is configured to the necessary dimensions with all the required components including mounting brackets and assembly, ground lugs, rain caps, hand hole covers, anchor bolts, nuts, washers and related hardware and accessories.

The design of the traffic signal and lighting supports shall be per the requirements of the 2013 AASHTO Standard Specifications for Structural Supports for Highway Signs, Luminaires and Traffic Signals, 6th edition, with the 2015 interim revisions.

All pole lighting supports and mast arms shall be designed to withstand 90 miles per hour wind, and a 3-second Gust. Fatigue analysis is to be per Fatigue Category 2, without galloping. Truck Induced velocity shall be 55 mph wind speed.

Metal parts of standard steel poles and hardware shall conform to the details shown on the plans and the following specifications.  Welding shall conform to the requirements of the American Welding Society, Structural Welding Code - Steel, D1.1, latest edition.

- Pole and Mast Arm Assembly Design Parameters:

- Poles Shafts:

Tapered pole shafts shall be fabricated from sheet steel of weldable grade which shall meet a minimum yield stress, after fabrication, of 50,000 pounds per square inch.  A taper rate of approximately 0.14 inches in diameter per linear foot shall be required unless otherwise specified.

Standard pipe pole shafts shall be fabricated from standard weight structural steel which conforms to the minimum strength requirements of ASTM A53, or A500 Grade B. Each section shall be fabricated from not more than two pieces of sheet steel.  When two pieces are used, the longitudinal welded seams shall be directly opposite one another.  When the sections are butt-welded, seams shall be directly opposite one another.  When the sections are butt-welded together, the longitudinal welded seams on adjacent sections shall be placed to form continuous straight seams from base to top of pole.  Pole shafts shall be straight, with a permissive variation not to exceed one inch measured at the midpoint.

Pole shafts shall be galvanized in accordance with the requirements of ASTM A123.  The visual appearance of the galvanized finish shall be uniform.  Discoloration of the galvanized finish such as dark areas, dark streaks, dark rings or transportation handling marks which are considered excessive by the Engineer shall not be allowed.  Pole shafts that have a finish unacceptable to the Engineer shall either be repaired or replaced to the satisfaction of the Engineer at no additional cost to the Department.

All steel poles shall have a hand hole in the base of the poles and shall conform to the details shown on the Standard Drawings.  All welds shall be continuous and any exposed welds, except fillet welds, shall be ground flush with the base metal.

A metal tag shall be permanently attached to the pole above the hand hole stating the manufacturer's name, pole type per the Department's plans, pole drawing number, shaft length and gage number.

- Mast Arms:

Tapered mast arms for all pole types shall be fabricated from sheet steel with a minimum yield stress of 50,000 pounds per square inch after fabrication. Mast arms shall be fabricated according to the thickness requirements shown on the plans.

A taper rate of approximately 0.14 inches change in diameter per linear foot shall be required unless otherwise specified.  All bolts, washers, and nuts for mast arms shall be high strength, shall be fabricated from steel which meets the requirements of ASTM F3125 GR A325, and shall be electro-galvanized in accordance with the requirements of ASTM F2329.

Mast arms shall be galvanized in accordance with the requirements of ASTM A123.  The visual appearance of the galvanized finish shall be uniform.  Discoloration of the galvanized finish such as dark areas, dark streaks, dark rings or transportation handling marks which are considered excessive by the Engineer shall not be allowed.  Mast arms that have a finish unacceptable to the Engineer shall either be repaired or replaced to the satisfaction of the Engineer at no additional cost to the Department.

A metal tag shall be permanently attached on the side of the mast arm near the base stating the manufacturer's name, pole type and name as shown on the plans, mast arm or pole drawing number, length, and gage number.

- Steel Pole Extensions and Twin Luminaire Brackets:

Pole extensions and twin luminaire brackets shall be fabricated from new pipe conforming to the requirements of ASTM A53 or A500 Grade B. All welding shall conform to the requirements of the American Welding Society, Structural Welding Code - Steel, D1.1, latest edition. Pole extensions and twin luminaire brackets shall be fully galvanized in accordance with the requirements of ASTM A123.  Fabrication of the pole extensions and twin luminaire brackets shall be in accordance with the dimensions as specified in the plans.

- Standard Bases:

Poles shall have standard bases fabricated from structural steel plates conforming to the minimum strength requirements of ASTM A36.  Exposed surfaces shall be finished smooth and all exposed edges shall be neatly rounded to a 1/8-inch radius.  Standard bases shall be galvanized in accordance with the requirements of ASTM A123.

- Anchor Bolts, Nuts and Washers:

Standard anchor bolts, washers, and nuts shall be fabricated from steel conforming to the requirements of ASTM F1554 Grade 55. Anchor bolts, washers, and nuts shall be fully galvanized in accordance with the requirements of ASTM F2329. Anchor bolts shall conform to the requirements shown on Standard Drawings.

Welding shall not be performed on any portion of the body of these bolts.  Certificates of Analysis conforming to the requirements of Subsection 106.05 of the specifications shall be submitted for high strength bolts, washers and nuts.

- Submittals:

The contractor shall submit a Certificate of Analysis for all steel components and welding in accordance with the requirements of Section 106.05 of the specifications. The contractor shall also submit shop drawings that have been sealed and signed by a registered professional engineer that show all the details of the poles assembly units to be furnished and installed. The shop drawings shall be complete in every aspect, including all dimensions, material specifications and appropriate details. The details shall include the configuration of the pole shaft, mast arm and mast arm mounting bracket, base plates, luminaire mounting bracket and the hand hole. All welds shall be shown and identified with standard AWS symbols. The submittal shall include structural calculations along with the name of the engineer(s) who sealed the drawings and performed the calculations.

The contractor shall submit the supporting documents for review by the Engineer. The principal purpose of the review is to verify that suitable structural calculations have been made in the design of the pole and mast arm assembly. The contractor's engineer shall utilize accepted standard engineering principles. If a computer program is utilized, the contractor shall furnish the Engineer with all necessary information, such as formulas and assumptions, to conduct a meaningful review.

The Engineer shall provide written review comments to the contractor. The contractor shall respond to these comments and resubmit the calculations, if required. Fabrication shall not take place until the shop drawings have been approved.

If the contractor utilizes a pre-approved design from ADOT’s Approved Product List (APL), submittal of the structural calculations is not required. Shop drawings for APL designs shall be submitted. Drawing numbers for the pre-approved designs found in the APL are available at https://azdot.gov/business/engineering-and-construction/product-evaluation-program.

731-2.04		Mast Arms and Tie Rods: of the Standard Specifications is hereby deleted:

731-3.02		Foundations: the sixth paragraph of the Standard Specifications is revised to read:

Signal and lighting pole foundations shall be set flush with the existing or new curb and sidewalk or flush with the finished grade where there is no curb or sidewalk, except in sloped areas they shall be as shown on the plans.  The dimensions and locations of foundations shall be as specified on the plans; however, the Engineer may direct that changes be made in locations due to obstructions or other existing conditions.  The contractor shall verify top of foundation elevations with the Engineer prior to foundation construction.

731-3.02		Foundations: the tenth paragraph of the Standard Specifications is revised to read:

Anchor bolts and conduit stubs shall be placed and held in proper alignment, position, and height during the placing and vibrating of concrete.  All pole foundations shall set for seven days prior to pole installation.

731-3.02		Foundations: of the Standard Specifications is modified to add:

The stations and offsets for traffic signal poles shown on the plans and in the pole/equipment schedule are approximate. The final location of each pole shall be staked in the field by the contractor and approved by the Engineer, to ensure that the edge of pole foundation is immediately adjacent (1-inch maximum) to the back of sidewalk, back of wheelchair ramp, or integrated into the sidewalk ramp design. The intent of these criteria is to ensure that the pedestrian push button assemblies are accessible to wheelchair-bound pedestrians.